## questions
Title | A | B | C | D | Correct | Explanation | Category
In a PA chest radiograph, the clavicles are projected above the apices. What is the most likely error? | Insufficient SID | Patient positioned lordotically | Excessive rotation toward the left | Incorrect caudad CR angle | B | A lordotic (chin/chest raised) posture elevates the clavicles, projecting them above the lung apices. Correct by lowering the chin and rolling the shoulders forward to achieve a true PA. | Chest/Positioning
Which of the following is the most effective method to reduce occupational radiation dose? | Use of lead shielding | Collimation | Increasing distance from source | Shorter exposure times | C | By the inverse square law, doubling distance reduces exposure to one-quarter. Shielding and collimation help, but maximizing distance most effectively lowers staff dose. | Radiation Protection
For an AP axial (Towne’s) projection of the skull, how is the central ray directed? | 30° caudad to OML | 15° cephalad to OML | 0° perpendicular to IOML | 25° cephalad to IOML | A | The Towne’s method uses a 30° caudad CR to the OML (or 37° to the IOML) to place the dorsum sellae and posterior clinoids within the foramen magnum. | Skull
What is the optimal respiration instruction for a supine KUB radiograph? | Suspend on inspiration | Suspend on expiration | Use shallow breathing technique | Suspend after full inhalation and exhalation | B | End‑expiration elevates the diaphragm, reducing superimposition of the lung bases on the upper abdomen and improving visualization of abdominal structures. | Abdomen
Which chest pathology is characterized radiographically by hyperlucent lungs with flattened diaphragms? | Pneumonia | Emphysema | Pleural effusion | Atelectasis | B | Emphysema causes overinflation and air trapping, producing hyperlucent lung fields, depressed/flattened diaphragms, and increased retrosternal air space. | Chest Pathology
Which rotation and CR level best demonstrate the esophagus in a PA oblique esophagram (RAO)? | 20° rotation; CR at T4 | 35–40° rotation; CR at T6–T7 | 45° rotation; CR at T10 | 15° rotation; CR at C7 | B | An RAO with 35–40° rotation and CR 2–3 inches inferior to the jugular notch (T6–T7) projects the esophagus between the heart and vertebral column. | GI/Esophagus
During a pediatric scoliosis series, using PA rather than AP projections primarily reduces: | Breast dose by ~90% | Ovarian dose by 25–30% | Breast dose by 15–20% | Thyroid dose by 150% | A | PA positioning places radiosensitive anterior tissues, especially breast tissue, farther from the beam entrance, reducing entrance skin dose by roughly 90%. | Pediatrics/Dose Optimization
Where is the CR centered for an AP axial projection of the sacrum? | At the level of the ASIS | At the symphysis pubis | 1–1.5 inches below the iliac crest | 2 inches above the symphysis pubis | D | For AP axial sacrum (15° cephalad), center along the MSP about 2 inches (5 cm) superior to the symphysis pubis to place the sacrum in profile. | Spine/Sacrum
Which position best demonstrates the LEFT sacroiliac (SI) joint open? | LPO | RPO | LAO | AP supine | B | Posterior oblique positions demonstrate the SI joint farthest from the IR (upside). To see the LEFT SI joint, use an RPO (left side up). | Spine/SI Joints
Where should the CR enter for posterior oblique projections of the SI joints? | 1 inch medial to upside ASIS | 2 inches medial to upside ASIS | At the upside ASIS | 1 inch medial and inferior to upside ASIS | A | For 25–30° posterior obliques, center 1 inch (2.5 cm) medial to the elevated ASIS to place the SI joint in the center of the exposure field. | Spine/SI Joints
Adequate barium enema mucosal coating is indicated when: | Mucosal folds are not seen | A thin uniform coating covers the mucosa | Barium pools in the dependent surface only | Half the lumen is filled with barium | B | A thin, even coating of barium outlining the mucosal pattern indicates proper distention and coating for mucosal assessment. | GI/Colon
To increase image contrast (shorter scale) on a shoulder radiograph originally done at 70 kVp/10 mAs, which is most appropriate? | 50 kVp, 20 mAs | 63 kVp, 15 mAs | 84 kVp, 5 mAs | 90 kVp, 2.5 mAs | B | Lowering kVp increases contrast. To maintain exposure, mAs is modestly increased (about 30–50%). 63 kVp with ~15 mAs yields a shorter scale while preserving density. | Exposure Technique
The quantity of electrons in the tube current (cathode stream) depends directly on the: | Focal spot size | Tube voltage (kVp) | Filament heat (mA) | Anode target material | C | Raising filament temperature increases thermionic emission, directly increasing mA and the electron quantity crossing the tube. | Physics
Which factor does NOT affect recorded detail (sharpness)? | Focal spot size | mAs | SID (FFD) | OID | B | Sharpness depends on geometric factors—focal spot size, SID, and OID. mAs affects receptor exposure (density), not sharpness. | Image Quality
Which will DECREASE radiographic sharpness (increase blur)? | High‑speed screens | No screens | Slow‑speed screens | Longer SID | A | High‑speed screens have greater light spread, increasing unsharpness. Slow screens and longer SID improve detail; going screenless (direct) also improves detail. | Image Quality
Magnification can be reduced by using a: | Tighter collimation | Longer SID | Thicker filter | Shorter SID | B | A longer source‑to‑image distance reduces beam divergence at the detector, decreasing geometric magnification. | Geometry
Which factor primarily affects the QUALITY (penetration/HVL) of the x‑ray beam? | mA | Exposure time | Filtration | mAs | C | Added filtration hardens the beam by preferentially removing low‑energy photons, increasing average photon energy (quality). | Physics
A cross‑table lateral C‑spine normally uses 72" SID. If only 50" is possible and original technique was 75 kVp/10 mAs, which is appropriate? | 75 kVp at 2.5 mAs | 75 kVp at 5 mAs | 69 kVp at 5 mAs | 69 kVp at 8 mAs | B | Using the inverse‑square law, (50/72)^2 ≈ 0.48; 10 mAs × 0.48 ≈ 5 mAs. Keep kVp to maintain penetration. | Trauma/Technique
To maximize contrast with iodine‑based contrast media, the optimal kVp range is approximately: | 35 kVp | 68 kVp | 80 kVp | 120 kVp | B | Iodine’s K‑edge is ~33 keV; using 65–75 kVp enhances photoelectric absorption and vessel/organ conspicuity without excessive beam hardening. | Contrast/Physics
Which exposure factor is most affected by changing focal spot size? | Density/IR exposure | Contrast | Recorded detail | Distortion | C | Focal spot size alters geometric unsharpness. A smaller focal spot improves spatial resolution; density and distortion are largely unaffected. | Image Quality
With an AEC exposure, if mA is decreased, what typically happens? | Exposure time decreases | Exposure time increases | IR exposure increases | IR exposure decreases | B | AEC terminates the exposure when a preset receptor exposure is reached. Lower mA requires a longer exposure time to reach that value. | AEC/Technique
Which finding is a systemic sign of disease? | Swelling of the knee | Fever | Localized neck pain | Facial rash only | B | Systemic signs affect the whole body (e.g., fever, malaise, weight loss), whereas localized signs are confined to one region. | Pathology/General
Etiology is best defined as the study of the: | Causes of disease | Course of disease | Complications of disease | Manifestations of disease | A | Etiology identifies the causative factors—genetic, infectious, environmental, or iatrogenic—responsible for a disease. | Pathology/General
A decrease in cell size due to reduced demand or nutrition is termed: | Hypertrophy | Metaplasia | Anaplasia | Atrophy | D | Atrophy is a reversible decrease in cell size and function from disuse, denervation, ischemia, or aging. | Pathology/Cellular
Marked variation in cell size/shape with increased mitoses in a tissue is called: | Metaplasia | Atrophy | Dysplasia | Hypertrophy | C | Dysplasia describes disordered growth with pleomorphism and increased mitotic activity—often a precursor to neoplasia. | Pathology/Cellular
Which cranial bones form the largest portion of the sides of the cranium? | Parietal bones | Temporal bones | Occipital bone | Sphenoid bone | A | The paired parietals constitute the majority of the cranial vault’s lateral walls. | Skull/Anatomy
The parietal bones articulate with the _____ and temporal bones. | Ethmoid, frontal, occipital | Sphenoid, occipital, frontal | Ethmoid, frontal, maxillary | Sphenoid, frontal, maxillary | B | Parietals articulate anteriorly with the frontal, inferiorly with the temporal, posteriorly with the occipital, and laterally with the sphenoid. | Skull/Anatomy
The lateral masses and the superior and middle nasal conchae belong to which bone? | Ethmoid | Sphenoid | Temporal | Frontal | A | The ethmoid contains the cribriform plate, perpendicular plate, lateral masses, and the middle/superior nasal conchae. | Skull/Anatomy
Which structure of the sphenoid houses the pituitary gland? | Foramen ovale | Pterygoid process | Sella turcica | Anterior clinoid process | C | The pituitary (hypophysis) sits in the hypophyseal fossa of the sphenoid’s sella turcica. | Skull/Anatomy
The greater petrosal nerve passes through the: | Foramen rotundum | Foramen spinosum | Optic canal | Pterygoid canal | D | The nerve of the pterygoid canal (Vidian nerve) traverses the pterygoid canal to the pterygopalatine fossa. | Skull/Foramina
For an AP foot, the CR should be angled: | 10° posteriorly (toward the heel) | 40° cephalad | 20–35° cephalad | 10° anteriorly (toward the toes) | A | A 10° posterior (toward the heel) angle reduces foreshortening of metatarsals and improves joint space visualization. | Lower Limb/Positioning
For an AP axial projection of the clavicle, the CR is angled: | 15–30° cephalad | 35–34° cephalad | 15–30° caudad | 5–15° caudad | A | The cephalad angle projects the clavicle above the ribs and scapula, with angle magnitude depending on patient habitus. | Shoulder Girdle
For an inferosuperior axial shoulder (Lawrence), the CR is directed: | Medially 25–30° | Laterally 25–30° | Medially 15–20° | Laterally 15–20° | A | A 25–30° medial angle through the axilla best demonstrates the glenohumeral joint and tubercles in profile. | Shoulder Girdle
For an AP axial (Towne) projection of the mandible to demonstrate condyles within the fossae with minimal mastoid superimposition, the CR angle is: | 35–42° caudad | 35–42° cephalad | 10–20° cephalad | 10–20° caudad | A | AP axial mandible uses a caudad angle (≈35° to OML or 42° to IOML) to project the condyles into the mandibular fossae. | Facial Bones/Mandible
For a PA axial mandible to visualize the rami symmetrically, the recommended CR angle is: | 20–25° cephalad | 20–25° caudad | 10–15° caudad | 10–15° cephalad | A | A cephalad angle of about 20–25° elongates the rami and projects them lateral to the cervical spine for symmetric visualization. | Facial Bones/Mandible
Recommended technique for an infant AP lateral‑decubitus chest at 50–60" (125–150 cm) is: | 75–85 kVp, no grid, no AEC, ~1.5 mAs | 110–125 kVp, grid, both AEC cells | 55–65 kVp, grid, 1.0 mAs | 110–125 kVp, no grid, AEC | A | Infant chests use relatively moderate kVp without a grid to minimize dose; AEC is generally not used in neonates/infants. | Pediatrics/Technique
Recommended kVp range for an AP humerus (non‑grid) is: | 55–65 kVp | 75–85 kVp | 90–100 kVp | 100–110 kVp | B | Upper‑extremity long bones are commonly imaged in the 70–85 kVp range (non‑grid), balancing contrast and penetration. | Upper Limb/Technique
Hill‑Sachs defect is best described radiographically as: | Compression defect of the humeral head with possible anterior dislocation | Fluid‑filled joint space with calcification | Small avulsion of the anterior glenoid rim | Subacromial spur formation | A | A Hill‑Sachs lesion is a posterolateral humeral head impaction from anterior shoulder dislocation; look for cortical flattening/defect. | Shoulder Pathology
Ewing sarcoma typically shows which appearance on radiographs? | Ill‑defined lytic lesion with layered 'onion‑skin' periosteal reaction | Exostosis with cartilaginous cap growing away from joint | Mixed lysis with chondroid calcifications | Multiple well‑circumscribed punched‑out lesions | A | Ewing sarcoma often demonstrates permeative bone destruction with laminated periosteal reaction producing an 'onion‑skin' pattern. | Oncology/MSK
Clay‑shoveler’s fracture refers to: | Avulsion of the spinous process (C6–T1) | Wedge‑compression of a vertebral body | Fracture of the anterior C2 arch with subluxation | Bilateral offset of C1 lateral masses relative to the dens | A | It is an avulsion fracture of a lower cervical/upper thoracic spinous process, often from forceful muscle contraction or flexion. | Spine/Trauma
Which CR angle best demonstrates the L5–S1 lumbosacral joint in an AP axial projection for a FEMALE patient? | 30° cephalad | 35° cephalad | 20° caudad | 5–8° caudad | B | AP axial L5–S1 uses about 30° cephalad for males and 35° for females, centered at the level of the ASIS on the MSP. | Spine/Lumbosacral
Which obliquity best demonstrates the L5–S1 zygapophyseal joints? | 10–15° | 20° | 30° | 50° | C | Lumbar zygapophyseal joints require 45° overall, but the lower lumbar (L5–S1) are more coronally oriented and open best at ~30°. | Spine/Zygapophyseal
The circle of Willis is located in the: | Suprasellar cistern | T4–L5 | 4 cm above aortic bifurcation | 2 cm above the transpyloric plane | A | The arterial circle encircles the pituitary stalk in the suprasellar (chiasmatic) cistern at the brain’s base. | Neuro/Anatomy
The conus medullaris in adults typically terminates at: | L4–L5 | T12–L1 to L2 | L5 | T4–T5 | B | The spinal cord usually ends around L1–L2 (sometimes as high as T12), continuing as the cauda equina below. | Spine/Anatomy
The cardiac apex is located at the: | 5th left intercostal space, mid‑clavicular line | 2nd–3rd costal cartilages | 4 cm above the aortic bifurcation | Posterior to the pancreatic neck | A | The apex beat (PMI) is palpated at the 5th left intercostal space along the mid‑clavicular line. | Thorax/Anatomy
Which statement about the inferior vena cava (IVC) is most accurate radiographically? | Begins at L5 | Posterior to pancreatic neck | Anterior to L1 and inferior to the SMA | 2 cm above the transpyloric plane | C | The IVC courses anterior to L1 and posterior to the liver; the SMA arises just superior, with relationships best seen on cross‑sectional imaging. | Abdomen/Anatomy
The xiphoid process is at approximately which vertebral level? | T9–T10 | L2–L3 | L4–L5 | C7 | A | The xiphoid tip projects near T9–T10, serving as a useful surface landmark for imaging and procedures. | Thorax/Anatomy
Which is NOT part of the superficial (ventral) forearm flexor group? | Pronator teres | Flexor carpi radialis | Flexor carpi ulnaris | Flexor pollicis longus | D | Flexor pollicis longus is a deep anterior forearm muscle; the superficial layer includes pronator teres, FCR, palmaris longus, and FCU. | Upper Limb/Anatomy
Which muscle originates on the distal anterior ulna and inserts on the distal radius to pronate the forearm? | Pronator quadratus | Pronator teres | Extensor pollicis brevis | Extensor pollicis longus | A | Pronator quadratus spans the distal forearm, pulling the radius over the ulna during pronation. | Upper Limb/Anatomy
The 'ear' of the lumbar Scotty dog corresponds to the: | Inferior articular process | Superior articular process | Zygapophyseal joint | Pars interarticularis | B | On oblique lumbar images, the superior articular process forms the 'ear'; the eye is the pedicle, the neck is the pars, and the front leg is the inferior articular process. | Spine/Positioning

## README
How to use
Keep the header row EXACTLY as-is: Title, A, B, C, D, Correct, Explanation, Category.
Enter one question per row. Correct must be a single letter: A, B, C, or D.
Explanations should be full sentences; categories are free-text (e.g., Chest, Spine).
Upload this file to /upload-form selecting your target Test.