## Sheet1
Question | A | B | C | D | Correct Answer | Category
Which kVp range is most appropriate for an adult PA chest radiograph? | 50–60 kVp | 110–125 kVp | 70–85 kVp | 130–150 kVp | B | Chest
For an AP knee radiograph, where should the central ray (CR) be directed? | 1 inch distal to the patella | Mid-patellofemoral joint space | 1/2 inch inferior to the tibial tuberosity | Midpoint between femoral condyles | B | Lower Extremity
Which projection best demonstrates the scaphoid bone with minimal foreshortening? | PA wrist with ulnar deviation | AP wrist with radial deviation | Lateral wrist in extension | PA oblique wrist 45° | A | Upper Extremity
What breathing instructions are typically used for an AP abdomen (KUB)? | Inspiration, hold breath | Expiration, hold breath | Shallow breathing | No breath-hold required | B | Abdomen
Which view best demonstrates the intervertebral foramina of the cervical spine (C-spine)? | AP open mouth (odontoid) | AP axial C-spine | Lateral C-spine | Oblique C-spine | D | Spine
For a lateral decubitus abdomen to assess free intraperitoneal air, the patient should lie on which side? | Left side down (LLD) | Right side down (RLD) | Either side—no difference | Prone position | A | Abdomen
Which SID is standard for a PA chest radiograph to minimize heart magnification? | 100 cm (40 in) | 120 cm (48 in) | 180 cm (72 in) | 200 cm (80 in) | C | Chest
For the AP axial (Towne) projection of the skull, the CR angle is typically: | 15° caudad to nasion | 30–37° caudad to the OML/IOML | 45° cephalad to the OML | Perpendicular to the glabella | B | Skull
Which rotation best visualizes the proximal tibiofibular joint without superimposition? | AP knee with 45° internal rotation | AP knee with 45° external rotation | Lateral knee flexed 30° | PA knee 10° caudad | A | Lower Extremity
What is the primary purpose of using a grid in radiography? | Reduce patient dose | Increase image brightness | Reduce scatter and improve contrast | Shorten exposure time | C | Image Quality